## PacketFormat
Format of RFM12-Data Packets
Content of 'D'-Frame
Byte | 0 | 1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| 'D' | acmmmmmm | ewssssss | Standard Packet (e=0) | CTL_error | temp_average[Hi] | temp_average[Lo] | batt_average[Hi] | batt_average[Lo] | temp_wanted | valve | time_sync_tmo
|  | a=0 CtlMode Man | e=1 Extended D-Packet
|  | a=1 see c-bit | e=0 Std D-Packet |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
|  | c=0 CtlMode None | w=0 Window Closed | Extended Packet (e=1) | CTL_error | temp_average[Hi] | temp_average[Lo] | batt_average[Hi] | batt_average[Lo] | time_sync_tmo | extension_type
|  | C=1 CtlMode Auto | w=1 Window Open
|  | mmmmmm = Minute | ssssss = Second
[11 empty] | Extn.Type | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
[10 empty] | OutDoor | 0x51 | 10: Pressure[Hi]; 11: Pressure[Lo]; 12: Rel. Humidity[%]; 13: gen.ErrorCode
[10 empty] | Counter | 0x52 | cnt[31:24] | cnt[23:16] | cnt[15:8] | cnt[7:0] | gen.ErrorCode
[10 empty] | CounterV2 | 0x54
[10 empty] | Environmental | 0x55 | 10: TVOC ppb[15:8]; 11: TVOC ppb[7:0]; 12: CO2 ppm[15:8]; 13: CO2 ppm[7:0]
[6 empty] | Temp0[hi] | Temp0[lo] |  |  | Multitemp | 0x56 | Temp1[hi] | Temp1[lo] | Temp2[hi] | Temp2[lo] | Temp3[hi] | Temp3[lo]
Content of 'L'-Frame ( Alarm-Frame ) |  |  |  |  | Alarm packet 1 |  |  | Alarm packet 2 |  |  | … | bar: 10 to 11
| L' | address | count |  | tttttttt | ssssssmm | mmmmxxxb
|  | RFM-Slave-Addr | Number of alarm pckts |  | ticks in [1/256] | ssssss=seconds[0..59] | xxx=Alarm line[0..7]
[6 empty] | mmmmmm=mins[0..59] | 1=close,secure/0=open,intrusion
Content of Sync-Frame
Byte | 0 | 1 | 2 | 3 | 4 | 5 |  | 6 | 7
[8 empty] | when s=1 | when s=1
[8 empty] | first slave adress | second slave address
| 00 | msfuuuuu | YY =year-2000 | M[3:0]xxD[4:3] | D[2:0]H[4:0] | xMi[5:0]S
| indicates Master | m=always 1, Master sync |  | M=Month[1-12] | H=Hour of day | Mi=Minute[0-59]
|  | s=1 two slave addresses will follow |  | D=Day of month[1-31] |  | S30=1 Second value=30
|  | f=1 four flag bytes will follow |  |  |  | S30=0 Second value=00
[8 empty] | 6 | 7 | 8 | 9
[8 empty] | when f=1 | when f=1 | when f=1 | when f=1
[8 empty] | flags[7:0] | flags[15:08] | flags[23:16] | flags[29:24]

## Timings
| mSec | 0 | 25 | 50 | 75 | 100 | 125 | 150 | 175 | 200 | 225 | 250 | 275 | 300 | 325 | 350 | 375 | 400 | 425 | 450 | 475 | 500 | 525 | 550 | 575 | 600 | 625 | 650 | 675 | 700 | 725 | 750 | 775 | 800 | 825 | 850 | 875 | 900 | 925 | 950 | 975
Master | 0, 30 | Send Sync + adresses
| all other | Prepare | Listen+cont | [36 empty] | SecCleanUp
Slave | 29.59 | Do Nothing | [37 empty] | Wait for Sync
| ID-Match with sec | Set Slot |  | Alarmslot#0 |  | AlarmSlot#1 |  | Answer Req |  | Listen |  | Wait |  | Send Data |  | Listen |  | Wait |  | Send Data |  | Listen |  | Wait |  | Send Data |  | Listen |  | Wait |  | Send Data |  | Listen |  | Wait |  | Send Data
| Maximale Zeiten | 80 Zeichen | 57 Zeichen | 46 Zeichen
| encrypt/decrypt | 20 ms | 12 ms | 12 ms
| cmac calc | 20 ms | 20 ms | 12 ms
| senden | 40 ms | 28 ms | 28 ms
| umschalt auf Recv | 0 ms
| Summe | 80ms | 58 ms | 50 ms